## Index GP requests
GP TEST CASES - SENDING REQUESTS
Test Case Ref: | Type | Name | Test Case Title | User Story (Clinical Scenarios) | Use Case Ref | Test Case data requirements - GP
GP_REQUEST_1.1.1 | Single | Prostate Specific Antigen | GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory field only test in LIMS' | Michael Davies, a 58 year old man, attends an appointment at an oncology outpatient clinic at Lingfield Royal Infirmary. The consultant, Dr Ibrahim Khan, gives Michael a blood test form for a prostate-specific antigen (PSA) test and asks him to attend the hospital’s phlebotomy clinic. On the same day, Michael attends the phlebotomy clinic and hands in the blood test form. A blood sample is taken by one of the clinic phlebotomists, Juan Garcia, and sent to the laboratory based in the hospital. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the hospital’s Electronic Patient Record (EPR) system and the GP system at Michael’s GP surgery: | GP_. GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory field only test in LIMS' | * Requires a valid test request for a "Prostate Specific Antigen" from a GP system in the correct FHIR message format (One request for 'mandatory' fields
GP_REQUEST_1.1.2 | Single | Prostate Specific Antigen | GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory + optional field test in LIMS' | Michael Davies, a 58 year old man, attends an appointment at an oncology outpatient clinic at Lingfield Royal Infirmary. The consultant, Dr Ibrahim Khan, gives Michael a blood test form for a prostate-specific antigen (PSA) test and asks him to attend the hospital’s phlebotomy clinic. On the same day, Michael attends the phlebotomy clinic and hands in the blood test form. A blood sample is taken by one of the clinic phlebotomists, Juan Garcia, and sent to the laboratory based in the hospital. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the hospital’s Electronic Patient Record (EPR) system and the GP system at Michael’s GP surgery: | GP_. GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory + optional field test in LIMS' | * Requires a valid test request for a "Prostate Specific Antigen" from a GP system in the correct FHIR message format (One request for 'mandatory' fields
GP_REQUEST_1.1.5 | Profile | Electrolytes & Creatnine Profile | GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory field only test in LIMS' | Lisa Stanner, a 60 year old woman, attends Manor GP Practice for monitoring her hypertension. Lisa’s GP, Dr Jane Green, requests renal function tests (electrolytes and creatinine profile). The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, Midtown District Hospital. Dr Green books an appointment with the practice nurse, Alice Jones. Lisa attends the appointment the following day where the blood sample is taken and sent to the laboratory. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The tests are performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system | GP_. GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory field only test in LIMS' | * Requires a valid test request for a "Electrolytes and Creatnine Profile" from GP system in FHIR message format
GP_REQUEST_1.1.6 | Profile | Electrolytes & Creatnine Profile | GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory + optional' field only test in LIMS' | Lisa Stanner, a 60 year old woman, attends Manor GP Practice for monitoring her hypertension. Lisa’s GP, Dr Jane Green, requests renal function tests (electrolytes and creatinine profile). The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, Midtown District Hospital. Dr Green books an appointment with the practice nurse, Alice Jones. Lisa attends the appointment the following day where the blood sample is taken and sent to the laboratory. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The tests are performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system | GP_. GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory + optional' field only test in LIMS' | * Requires a valid test request for a "Electrolytes and Creatnine Profile" from GP system in FHIR message format
GP_REQUEST_1.1.9 | Profile | Prostate Specific Antigen | GP sending a 'Pathology Request' FHIR message with status of 'interim' for a profile/panel test ("Prostate Antigen Test") to LIMs | This request is required by the GP to test test 1.1.9 (status contains'PARTIAL) | GP_. GP sending a 'Pathology Request' FHIR message with status of 'interim' for a profile/panel test ("Prostate Antigen Test") to LIMs | * Requires a valid test request for a "Prostate Specific Antigen" from a GP system in the correct FHIR message format
GP_REQUEST_1.1.10 | Profile | Prostate Specific Antigen | GP sending a 'Pathology Request' FHIR message with status of 'Uknown' for a profile\panel test ("Prostate Antigen Test") to LIMS | This test is to check for messaging contains status of 'Uknown' | GP_. GP sending a 'Pathology Request' FHIR message with status of 'Uknown' for a profile\panel test ("Prostate Antigen Test") to LIMS | * Requires a valid test request for a "Prostate Specific Antigen" from a GP system in the correct FHIR message format
GP_REQUEST_1.1.11 | Profile | Prostate Specific Antigen | GP Sending a 'Pathology Reuest' FHIR message with status of 'Final' for a profile\panel test ("Prostate Antigen Test")to LIMS | This test is to check for messaging contains status of 'Final' | GP_. GP Sending a 'Pathology Reuest' FHIR message with status of 'Final' for a profile\panel test ("Prostate Antigen Test")to LIMS | * Requires a valid test request for a "Prostate Specific Antigen" from a GP system in the correct FHIR message format
GP_REQUEST_1.1.12 | Single | Prostate Specific Antigen | CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a single standalone test - required to test' (damaged 'Prostrate antigen' specimen)' status for a single test | A damaged "prostrate antigen' specimen is provided | GP_. CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a single standalone test - required to test' (damaged 'Prostrate antigen' specimen)' status for a single test | * Requires a valid test request for a "Prostate Specific Antigen" from a GP system in the correct FHIR message format
GP_REQUEST_1.1.13 | Profile | Electrolytes & Creatnine Profile | CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a Panel test - required to test (damaged '(Electrolytes and Creatinine Profile' specimen)' | A damaged 'Electrolytes and Creatnine' specimen is provided | GP_. CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a Panel test - required to test (damaged '(Electrolytes and Creatinine Profile' specimen)' | * Requires a valid test request for a "Electrolytes & Creatnine" from a GP system in the correct FHIR message format
GP_REQUEST_1.1.14 | Single - Add test | TSH blood | GP sending a 'Pathology Request' FHIR message for a Single test - TSH Blood Test (reflex test) | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system: | GP_. GP sending a 'Pathology Request' FHIR message for a Single test - TSH Blood Test (reflex test) | * Requires a valid test request for a "TSH blood test" from GP system in FHIR message format
GP_REQUEST_1.1.15 | Single + Multiple Profile tests | FBC + Urine | GP sending a 'Patholoy Report' FHIR message for multiple specimens (i.e set of single standalone tests + multiple tests) - FBC + Urine (Mandatory fields only) | Susan Allen is a 25 year old woman with type 1 diabetes. Susan is seen for a review in a diabetes clinic at her local hospital, Oldhampton Royal Infirmary. The diabetes nurse, Mike Black, requests the following blood and urine tests: blood - full blood count, electrolytes and creatinine, cholesterol and triglycerides, glycated haemoglobin urine - urine albumin Mike takes blood samples and sends them to the pathology laboratory based in the hospital. The patient is given a paper request form for the urine samples. The following day Susan takes the urine samples and request form to her GP surgery, Newgate GP Practice. The samples are sent from the GP surgery to the laboratory. The samples are received by the laboratory, checked and matched with the test requests. The details are recorded on the Laboratory Information Management System (LIMS). The tests are performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the hospital’s EPR system: | GP_. GP sending a 'Patholoy Report' FHIR message for multiple specimens (i.e set of single standalone tests + multiple tests) - FBC + Urine (Mandatory fields only) | * Requires a valid test request for the following: Blood - full blood count, electrolytes and creatinine, cholesterol and triglycerides, glycated haemoglobin Urine - urine albumin

## GP_REQUEST_1.1.1
Use Case Ref | GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory field only test in LIMS'
Test Case | GP_REQUEST_1.1.1
Scenario Outline | A GP system must be able to send a test request in FHIR format for a Prostate Specific Antigen test (For testing LIMS 'mandatory' field)
Given | A User is logged into the GP system
And | A test request message for a single standalone test (Prostate Specific Antigen) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via Order comms)
Then | The request message should be received within the LIMS system (Confirm with LIMS)
Result

## GP_REQUEST_1.1.2
Use Case Ref | GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory + optional field test in LIMS'
Test Case | GP_REQUEST_1.1.2
Scenario Outline | A GP system must be able to send a test request in FHIR format for a Prostate Specific Antigen test (For testing 'mandatory + optional' field)
Given | A User is logged into the GP system
And | A test request message for a single standalone test (Prostate Specific Antigen) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)
Result

## GP_REQUEST_1.1.5
Use Case Ref | GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory field only test in LIMS'
Test Case | GP_REQUEST_1.1.5 |  |  | Return to Index
Scenario Outline | A GP system must be able to send a test request in FHIR format for a Profile test (For testing LIMS 'mandatory' field)
Given | A User is logged into the GP system
And | A test request message for a PROFILE test (Electrolytes & Creatinine) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)
|  | Blood Test Type | Result

## GP_REQUEST_1.1.6
Use Case Ref | GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory + optional' field only test in LIMS'
Test Case | GP_REQUEST_1.1.6 |  |  | Return to Index
Scenario Outline | A GP system must be able to send a test request in FHIR format for a Profile test (For testing LIMS 'mandatory' + 'optional' field)
Given | A User is logged into the GP system
And | A test request message for a PROFILE test (Electrolytes & Creatinine) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms system)
Then | The request message should be received within the LIMS system (Confirm with LIMS)
|  | Blood Test Type | Result

## GP_REQUEST_1.1.9
Use Case Ref | GP sending a 'Pathology Request' FHIR message with status of 'interim' for a profile/panel test ("Prostate Antigen Test") to LIMs
Test Case | GP_REQUEST_1.1.9 | Return to Index
Scenario Outline | A GP system must be able to send a test request in FHIR format for a xxx-xxx-xxx Profile test
Given | A User is logged into the GP system
And | A test request message for a PROFILE test (xxx-xxx-xxx) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)

## GP_REQUEST_1.1.10
Use Case Ref | GP sending a 'Pathology Request' FHIR message with status of 'Uknown' for a profile\panel test ("Prostate Antigen Test") to LIMS
Test Case | GP_REQUEST_1.1.10 | Return to Index
Scenario Outline | A GP system must be able to send a test request in FHIR format for a xxx-xxx-xxx Profile test
Given | A User is logged into the GP system
And | A test request message for a PROFILE test (xxx-xxx-xxx) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicabl;e)
Then | The request message should be received within the LIMS system (Confirm with LIMS)

## GP_REQUEST_1.1.11
Use Case Ref | GP Sending a 'Pathology Reuest' FHIR message with status of 'Final' for a profile\panel test ("Prostate Antigen Test")to LIMS
Test Case | GP_REQUEST_1.1.11 | Return to Index
Scenario Outline | A GP system must be able to send a test request in FHIR format for a xxx-xxx-xxx Profile test
Given | A User is logged into the GP system
And | A test request message for a PROFILE test (xxx-xxx-xxx) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)

## GP_REQUEST_1.1.12
Use Case Ref | CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a single standalone test - required to test' (damaged 'Prostrate antigen' specimen)' status for a single test
Test Case | GP_REQUEST_1.1.12
Scenario Outline | A GP system must be able to send a test request in FHIR format for a Prostate Specific Antigen test ((For testing 'Damaged Specimen')
Given | A User is logged into the GP system
And | A test request message for a single standalone test (Prostate Specific Antigen) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)
Result

## GP_REQUEST_1.1.13
Use Case Ref | CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a Panel test - required to test (damaged '(Electrolytes and Creatinine Profile' specimen)'
Test Case | GP_REQUEST_1.1.13
Scenario Outline | A GP system must be able to send a test request in FHIR format for a 'TSH Blood test' ((For testing a 'reflex' test)
Given | A User is logged into the GP system
And | A test request message for a Profile\Panel test (TSH Blood test) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)
Result

## GP_REQUEST_1.1.14
Use Case Ref | GP sending a 'Pathology Request' FHIR message for a Single test - TSH Blood Test (reflex test)
Test Case | GP_REQUEST_1.1.14 |  | Return to Index
Scenario Outline | A GP system must be able to send a test request in FHIR format for a 'TSH Blood test' ((For testing 'Damaged Specimen')
Given | A User is logged into the GP system
And | A test request message for a Profile\Panel test (TSH Blood Test) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)
Result

## GP_REQUEST_1.1.15
Use Case Ref | GP sending a 'Patholoy Report' FHIR message for multiple specimens (i.e set of single standalone tests + multiple tests) - FBC + Urine (Mandatory fields only)
Test Case | GP_REQUEST_1.1.15 | Return to Index
Scenario Outline | A GP system must be able to send a test request in FHIR format for a 'FBC' + 'Urine' test
Given | A User is logged into the GP system
And | A test request message for a Profile\Panel test (Blood - full blood count, electrolytes and creatinine, cholesterol and triglycerides, glycated haemoglobin , Urine - urine albumin ) has been CREATED within the GP system (In line with the spec: https://developer.nhs.uk/apis/itk3nationalpathology-1-1-0/index.html)
And | GP system is configured to point requests at the LIMS system (via Order comms system)
When | The request message is sent to LIMS (via order comms if applicable)
Then | The request message should be received within the LIMS system (Confirm with LIMS)