## GP Test Cases - Sending Request
Supplier Test Progress - Summary
Area: | Test Case Ref: | Type | Blood Test Name | Test Case Title | Result | Defect_ID: | Defect Summary:
GP Test Cases - Sending Requests | GP_REQUEST_1.1.1 | Single | Prostate Specific Antigen | GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory field only test in LIMS' | Failed | xlabs_0001 | PSA Test request messages failed NHS validation. Some structural issues with the message: • Each entry in the bundle needs a fullurl to match the id of the resource e.g: • <fullUrl value="urn:uuid:26b6bc59-1a63-4ffe-9908-2f7845643453" /> • Alsom "source" in the MessageHeader.
GP Test Cases - Sending Requests | GP_REQUEST_1.1.2 | Single | Prostate Specific Antigen | GP sending of a 'Pathology REQUEST' FHIR message for a single standalone test ("Prostate Specific Antigen") to LIMS - required for 'mandatory + optional field test in LIMS'
GP Test Cases - Sending Requests | GP_REQUEST_1.1.5 | Profile | Electrolytes & Creatnine Profile | GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory field only test in LIMS' | Failed | xlabs_0001 | Test request messages failed NHS validation. Some structural issues with the message: • Each entry in the bundle needs a fullurl to match the id of the resource e.g: • <fullUrl value="urn:uuid:26b6bc59-1a63-4ffe-9908-2f7845643453" /> • Alsom "source" in the MessageHeader.
GP Test Cases - Sending Requests | GP_REQUEST_1.1.6 | Profile | Electrolytes & Creatnine Profile | GP Sending a 'Pathology REQUEST' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to LIMS - required for 'mandatory + optional' field only test in LIMS' | Failed | xlabs_0001 | Test request messages failed NHS validation. Some structural issues with the message: • Each entry in the bundle needs a fullurl to match the id of the resource e.g: • <fullUrl value="urn:uuid:26b6bc59-1a63-4ffe-9908-2f7845643453" /> • Alsom "source" in the MessageHeader.
GP Test Cases - Sending Requests | GP_REQUEST_1.1.12 | Single | Prostate Specific Antigen | CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a single standalone test - required to test' (damaged 'Prostrate antigen' specimen)' status for a single test
GP Test Cases - Sending Requests | GP_REQUEST_1.1.13 | Profile | Electrolytes & Creatnine Profile | CHECK THIS TEST WITH PHIL GP sending a 'Pathology Request' FHIR message for a Panel test - required to test (damaged '(Electrolytes and Creatinine Profile' specimen)'
GP Test Cases - Sending Requests | GP_REQUEST_1.1.14 | Single - Add test | TSH blood | GP sending a 'Pathology Request' FHIR message for a Single test - TSH Blood Test (reflex test)
GP Test Cases - Sending Requests | GP_REQUEST_1.1.15 | Single + Multiple Profile tests | FBC + Urine | GP sending a 'Patholoy Report' FHIR message for multiple specimens (i.e set of single standalone tests + multiple tests) - FBC + Urine (Mandatory fields only)
GP Test Cases - Sending Requests | GP_REQUEST_1.1.9 | Profile | Prostate Specific Antigen | GP sending a 'Pathology Request' FHIR message for a standalone ("Prostate Antigen Test") to LIMs. (This request is a pre-req to running LIMS_1.1.9 (which tests 'partial' status of a result)
GP Test Cases - Sending Requests | GP_REQUEST_1.1.10 | Profile | Prostate Specific Antigen | GP sending a 'Pathology Request' FHIR message for a standalone ("Prostate Antigen Test") to LIMs. (This request is a pre-req to running LIMS_1.1.9 (which tests 'Uknown' status of a result)
GP Test Cases - Sending Requests | GP_REQUEST_1.1.11 | Profile | Prostate Specific Antigen | GP sending a 'Pathology Request' FHIR message for a standalone ("Prostate Antigen Test") to LIMs. (This request is a pre-req to running LIMS_1.1.9 (which tests 'Final' status of a result)

## LIMS Test Cases
Supplier Test Progress - Summary
Area: | Test Case Ref: | Type | Blood Test Name | Test Case Title | Result | Defect_ID: | Defect Summary:
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.1 | Single | LIMS sending of a 'Pathology Report' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Test Server - Mandatory fields only | LIMS sending of a 'Pathology Report' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Test Server - Mandatory fields only
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.2 | Single | Prostate Specific Antigen | LIMS sending of a 'Pathology Report' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR test server - Mandatory + Optional fields
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.3 | Single | Prostate Specific Antigen | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Server - Mandatory fields only
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.4 | Single | Prostate Specific Antigen | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Server - Mandatory + optional fields
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.5 | Profile | Electrolytes & Creatnine Profile | LIMS Sending 'Pathology Report' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to FHIR test server - Mandatory fields only
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.6 | Profile | Electrolytes & Creatnine Profile | LIMS Sending 'Pathology Report' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to FHIR test server - Mandatory + optional fields
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.7 | Profile | Electrolytes & Creatnine Profile | LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile of tests (Electrolytes and Creatinine Profile) to FHIR Server - Mandatory fields only
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.8 | Profile | Electrolytes & Creatnine Profile | LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile of tests (Electrolytes and Creatinine Profile) to FHIR Server - Mandatory fields + optional fields
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.9 | Profile | Prostate Specific Antigen | LIMS sending a 'Pathology Report' FHIR message with status of 'partial/interim' for 'Prostate Specific Antigen' to FHIR Server
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.10 | Profile | Prostate Specific Antigen | LIMS sending a 'Pathology Report' FHIR message with status of 'Uknown' for 'Prostate Specific Antigen' to FHIR Server
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.11 | Profile | Prostate Specific Antigen | LIMS Sending a 'Pathology Report' FHIR message with status of 'Final' for a 'Prostate Specific Antigen' to FHIR Server
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.12 | Single | Prostate Specific Antigen | CHECK THIS TEST WITH PHIL LIMS sending a 'Pathology Report' FHIR message with 'Unable to perform test' (damaged 'Prostrate antigen' specimen)' status for a single test
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.13 | Profile | Electrolytes & Creatnine Profile | CHECK THIS TEST WITH PHIL LIMS sending an 'Pathology Report' FHIR message with 'Unable to perform test' (damaged '(Electrolytes and Creatinine Profile' specimen)' status for a panel test
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.14 | Single - Add test | TSH blood | LIMS sending a 'Pathology Report' FHIR message when a single standalone TEST has been added to an existing Single "TSH blood Test"
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.15 | Single + Multiple Profile tests | FBC + Urine | LIMS sending a 'Patholoy Report' FHIR message for multiple specimens (i.e set of single standalone tests + multiple tests) - FBC + Urine (Mandatory fields only)
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.16 | Single + Multiple Profile tests | FBC + Urine | LIMS sending a 'Pathology Test Request Summary' FHIR message for multiple specimens (i.e set of single standalone tests + multiple tests) - FBC + Urine (Mandatory fields only)
LIMS Test cases - sendiung reports to GP systems | LIMS_1.1.17 | Single - Sendaway test | OPTIONAL TEST - LIMS referrring (a sendaway "xxx-xxxx-xxx" test) to another LIMS system via (MPEX) | OPTIONAL TEST - LIMS referrring (a sendaway "xxx-xxxx-xxx" test) to another LIMS system via (MPEX)