## Index-Phase 1-LIMS-Test_List
Test Case | Type | Test Case Title | User Story (Clinical Scenarios) | Use Case Ref | Test Case data requirements | GP system Test Request required?
1.1.1 | Single | LIMS sending a 'Pathology Report' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory fields only | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system: | 1.1. LIMS sending a 'Pathology Report' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory fields only | 1. Requires a valid test request for a "TSH blood test" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Electrolytes and Creatinine Sodium 142 mmol/L (133 to 146) Potassium 4.8 mmol/L (3.5 to 5.3) Chloride 105 mmol/L (95 to 108) Creatinine 64 umol/L (48 to 128) EGFR 87 mL/min/1.73m2 3. Test Report for the single standalone test result generated within LIIMS | Yes
1.1.2 | Single | LIMS sending of a 'Pathology Report' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Test Server - Mandatory fields only | Patient (male, 58 years old) attends an oncology outpatient clinic at a hospital.Laura Browning, 25 years old, is sixteen weeks pregnant. Laura attends an appointment with her GP, Dr James O’Neil at Snow Hill Surgery. Laura tells Dr O’Neil that over the past couple of days she has felt the need to urinate more often than usual and doing so is painful. She is also feeling tired and generally unwell. Suspecting that Laura may have a Urinary Tract Infection (UTI), Dr O’Neil requests a Urinary M C and S (Microscopy, Culture and Sensitivity) test using the GP practice order comms system. The request is sent electronically to the microbiology laboratory based in the nearby hospital, Newtown General. On the same day as her appointment with Dr O’Neil, Laura is asked to attend an appointment with the practice nurse, Amanda Wells. A mid-stream urine sample is taken and sent to the laboratory. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed, and the results are authorised for release. The following test results are sent electronically from the LIMS to the GP practice system and the hospital’s EPR and maternity systems: | 1.1. LIMS sending of a 'Pathology Report' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Test Server - Mandatory fields only | 1. Requires a valid test request for a "Prostate Specific Antigen" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Microscopy White cells >35 x10^6/L Red cells 10-35 x10^6/L Epithelial cells + Culture 1) Staph. saprophyticus >10^8 cfu/L Sensitivities Trimethoprim S Cefalexin S Nitrofurantoin S Flucloxacillin S Comment Likely to be clinically significant. 3. Test report should be generated for this test | Yes
1.1.3 | Single | LIMS sending 'Pathology Report' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") to FHIR Test Server - Mandatory fields only | Test Report Laura Browning, 25 years old, is sixteen weeks pregnant. Laura attends an appointment with her GP, Dr James O’Neil at Snow Hill Surgery. Laura tells Dr O’Neil that over the past couple of days she has felt the need to urinate more often than usual and doing so is painful. She is also feeling tired and generally unwell. Suspecting that Laura may have a Urinary Tract Infection (UTI), Dr O’Neil requests a Urinary M C and S (Microscopy, Culture and Sensitivity) test using the GP practice order comms system. The request is sent electronically to the microbiology laboratory based in the nearby hospital, Newtown General. On the same day as her appointment with Dr O’Neil, Laura is asked to attend an appointment with the practice nurse, Amanda Wells. A mid-stream urine sample is taken and sent to the laboratory. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed, and the results are authorised for release. The following test results are sent electronically from the LIMS to the GP practice system and the hospital’s EPR and maternity systems: | 1.1. LIMS sending 'Pathology Report' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") to FHIR Test Server - Mandatory fields only | 1. Requires a valid test request for a "Microscopy, Culture and sensitivity" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Prostate Specific Antigen 5.9 ug/L (0 to 4) 3. Test report should be generated for this test | Yes
1.1.4 | Single | LIMS sending a 'Pathology Report' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory + Optional fields | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system: | 1.1. LIMS sending a 'Pathology Report' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory + Optional fields | 1. Requires a valid test request for a "Microscopy, Culture and sensitivity" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Microscopy White cells >35 x10^6/L Red cells 10-35 x10^6/L Epithelial cells + Culture 1) Staph. saprophyticus >10^8 cfu/L Sensitivities Trimethoprim S Cefalexin S Nitrofurantoin S Flucloxacillin S Comment Likely to be clinically significant. 3. Test report should be generated for this test | Yes
1.1.5 | Single | LIMS sending of a 'Pathology Report' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR test server - Mandatory + Optional fields | Michael Davies, a 58 year old man, attends an appointment at an oncology outpatient clinic at Lingfield Royal Infirmary. The consultant, Dr Ibrahim Khan, gives Michael a blood test form for a prostate-specific antigen (PSA) test and asks him to attend the hospital’s phlebotomy clinic. On the same day, Michael attends the phlebotomy clinic and hands in the blood test form. A blood sample is taken by one of the clinic phlebotomists, Juan Garcia, and sent to the laboratory based in the hospital. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the hospital’s Electronic Patient Record (EPR) system and the GP system at Michael’s GP surgery: | 1.1. LIMS sending of a 'Pathology Report' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR test server - Mandatory + Optional fields |  | Yes
1.1.6 | Single | LIMS sending 'Pathology Report' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") via LIMS (Mandatory fields only) to FHIR test server - Mandatory + Optional fields |  | 1.1. LIMS sending 'Pathology Report' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") via LIMS (Mandatory fields only) to FHIR test server - Mandatory + Optional fields |  | Yes
1.1.7 | Single | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory fields only | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system: | 1.1. LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory fields only | 1. Requires a valid test request for a "TSH blood test" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Electrolytes and Creatinine Sodium 142 mmol/L (133 to 146) Potassium 4.8 mmol/L (3.5 to 5.3) Chloride 105 mmol/L (95 to 108) Creatinine 64 umol/L (48 to 128) EGFR 87 mL/min/1.73m2 3. Test Report for the single standalone test result generated within L;IMS | Yes
1.1.8 | Single | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Server - Mandatory fields only | Michael Davies, a 58 year old man, attends an appointment at an oncology outpatient clinic at Lingfield Royal Infirmary. The consultant, Dr Ibrahim Khan, gives Michael a blood test form for a prostate-specific antigen (PSA) test and asks him to attend the hospital’s phlebotomy clinic. On the same day, Michael attends the phlebotomy clinic and hands in the blood test form. A blood sample is taken by one of the clinic phlebotomists, Juan Garcia, and sent to the laboratory based in the hospital. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the hospital’s Electronic Patient Record (EPR) system and the GP system at Michael’s GP surgery: | 1.1. LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Server - Mandatory fields only |  | Yes
1.1.9 | Single | LIMS sending 'Pathology Test Request Summary' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") to FHIR Test Server - Mandatory fields only |  | 1.1. LIMS sending 'Pathology Test Request Summary' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") to FHIR Test Server - Mandatory fields only |  | Yes
1.1.10 | Single | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory + optional fields | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system: | 1.1. LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory + optional fields | 1. Requires a valid test request for a "TSH blood test" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Electrolytes and Creatinine Sodium 142 mmol/L (133 to 146) Potassium 4.8 mmol/L (3.5 to 5.3) Chloride 105 mmol/L (95 to 108) Creatinine 64 umol/L (48 to 128) EGFR 87 mL/min/1.73m2 3. Test Report for the single standalone test result generated within L;IMS | Yes
1.1.11 | Single | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Server - Mandatory + optional fields |  | 1.1. LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Prostate Specific Antigen") to FHIR Server - Mandatory + optional fields |  | Yes
1.1.12 | Single | LIMS sending 'Pathology Test Request Summary' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") to FHIR Test Server - Mandatory + optional fields |  | 1.1. LIMS sending 'Pathology Test Request Summary' FHIR message for a single standalone test ("Urinary M C and S (Microscopy, Culture and Sensitivity)") to FHIR Test Server - Mandatory + optional fields |  | Yes
1.1.13 | Profile | LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to FHIR test server - Mandatory fields only |  | 1.1. LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to FHIR test server - Mandatory fields only
1.1.14 | Profile | LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields only | TBC | 1.1. LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields only
1.1.15 | Profile | LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields only | TBC | 1.1. LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields only
1.1.16 | Profile | LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to FHIR test server - Mandatory + optional fields |  | 1.1. LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (Electrolytes and Creatinine Profile) to FHIR test server - Mandatory + optional fields
1.1.17 | Profile | LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields + optional | TBC | 1.1. LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields + optional
1.1.18 | Profile | LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields + optional | TBC | 1.1. LIMS Sending 'Pathology Result' FHIR message for a test panel/profiles of tests (xxx-xxx-xxx) to FHIR test server - Mandatory fields + optional
1.1.19 | Profile | LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile of tests (Electrolytes and Creatinine Profile) to FHIR Server | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system: | 1.1. LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile of tests (Electrolytes and Creatinine Profile) to FHIR Server | 1. Requires a valid test request for a "TSH blood test" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Electrolytes and Creatinine Sodium 142 mmol/L (133 to 146) Potassium 4.8 mmol/L (3.5 to 5.3) Chloride 105 mmol/L (95 to 108) Creatinine 64 umol/L (48 to 128) EGFR 87 mL/min/1.73m2 3. Test Report for the single standalone test result generated within L;IMS | Yes
1.1.20 | Profile | LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile tests ("xxx-xxx-xxxx") to FHIR Server |  | 1.1. LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile tests ("xxx-xxx-xxxx") to FHIR Server | 1. Requires a valid test request for a "TSH blood test" from GP system via Order comms 2. Test Results in LIMS should be recorded as : Electrolytes and Creatinine Sodium 142 mmol/L (133 to 146) Potassium 4.8 mmol/L (3.5 to 5.3) Chloride 105 mmol/L (95 to 108) Creatinine 64 umol/L (48 to 128) EGFR 87 mL/min/1.73m2 3. Test Report for the single standalone test result generated within L;IMS | Yes
1.1.21 | Profile | LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile tests (xxx-xxx-xxxx")to FHIR Test Server |  | 1.1. LIMS sending a 'Pathology Test Request Summary' FHIR message for a test panel/profile tests (xxx-xxx-xxxx")to FHIR Test Server
1.1.22 | Single | LIMS sending a 'Pathology Report' FHIR message with status of 'partial' for a single standalone test ("xx-xx-xx-xx Test") to FHIR Server | For these tests make sure that the messaging contains status 'partial' | 1.1. LIMS sending a 'Pathology Report' FHIR message with status of 'partial' for a single standalone test ("xx-xx-xx-xx Test") to FHIR Server | See test case
1.1.23 | Profile | LIMS sending a 'Pathology Report' FHIR message with status of 'partial' for a profile\panel test ("xx-xx-xx-xx Test") to FHIR Server | For these tests make sure that the messaging contains status 'partial' | 1.1. LIMS sending a 'Pathology Report' FHIR message with status of 'partial' for a profile\panel test ("xx-xx-xx-xx Test") to FHIR Server | See test case
1.1.24 | Single | LIMS sending a 'Pathology Report' FHIR message with status of 'Uknown' for a single standalone test ("xx-xx-xx-xx Test") to FHIR Server |  | 1.1. LIMS sending a 'Pathology Report' FHIR message with status of 'Uknown' for a single standalone test ("xx-xx-xx-xx Test") to FHIR Server | See test case
1.1.25 | Profile | LIMS sending a 'Pathology Report' FHIR message with status of 'Uknown' for a profile\panel test ("xx-xx-xx-xx Test") to FHIR Server |  | 1.1. LIMS sending a 'Pathology Report' FHIR message with status of 'Uknown' for a profile\panel test ("xx-xx-xx-xx Test") to FHIR Server | See test case
1.1.26 | Single | LIMS sending a 'Pathology Report' FHIR message with status of 'Final' for a single standalone test ("xx-xx-xx-xx Test") to FHIR Server |  | 1.1. LIMS sending a 'Pathology Report' FHIR message with status of 'Final' for a single standalone test ("xx-xx-xx-xx Test") to FHIR Server | See test case
1.1.27 | Profile | LIMS Sending a 'Pathology Report' FHIR message with status of 'Final' for a profile\panel test ("xx-xx-xx-xx Test") from LIMS to FHIR Server |  | 1.1. LIMS Sending a 'Pathology Report' FHIR message with status of 'Final' for a profile\panel test ("xx-xx-xx-xx Test") from LIMS to FHIR Server | See test case
1.1.28 | Single | LIMS sending a 'Pathology Report' FHIR message with 'Unable to perform test' (damaged specimen)' status for a single test |  | 1.1. LIMS sending a 'Pathology Report' FHIR message with 'Unable to perform test' (damaged specimen)' status for a single test | See test case
1.1.29 | Profile | LIMS sending an 'Pathology Report' FHIR message with 'Unable to perform test' (damaged specimen)' status for a panel test |  | 1.1. LIMS sending an 'Pathology Report' FHIR message with 'Unable to perform test' (damaged specimen)' status for a panel test | See test case
1.1.30 | Single | LIMS sending a 'Pathology Report' FHIR message when a TEST has been added to an existing single standalone test |  | 1.1. LIMS sending a 'Pathology Report' FHIR message when a TEST has been added to an existing single standalone test | See test case
1.1.31 | Profile | LIMS sending a 'Pathology Report' FHIR message when a TEST has been added to an existing profile test |  | 1.1. LIMS sending a 'Pathology Report' FHIR message when a TEST has been added to an existing profile test | See test case
** Test request test cases will done via GP systems (order comms)…

## 1.1.1
Use Case Ref | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system:
Test Case | 1.1.1 |  |  | Return to Index
Scenario Outline | A LIMS system should be able to send a pathology result to the test data store (FHIR Server) for a standalone single test (TSH Blood)
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (TSH blood) has been received by the LIMS system from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | The TSH blood test has been performed and results are recorded in LIMS with mandatory fields only (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test report has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test report is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The diagnostic report message should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The captured diagnostic report message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | Identifier (Business identifier for report ; a business level identifier for the test report. Produced by the performing LIMS organisation.)
And | System (The namespace for the identifier value mUST contain the value 'https://tools.ietf.org/html/rfc4122')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (registered : partial : preliminary : final + Binding (required): The status of the diagnostic report as a whole. Diagnostic-Report-Status The status of the Test Report. MUST be set to 'partial' when the report is issued on an initial, interim or preliminary basis, for example because some of the requested tests have not yet completed. MUST be set to ‘final’ when the report is completed. MUST be set to ‘unknown’ when the status is unable to be determined)
And | code (Name/Code for this diagnostic report Binding (preferred): Codes that describe Diagnostic Reports. [Report Codes]( https://fhir.hl7.org.uk/STU3/ValueSet/CareConnect-ReportCodeSnCT-1 ) A SNOMED CT coded name of the name of the test report.)
And | .--System (Identity of the terminology system Fixed Value: http://snomed.info/sct)
And | .- - - code (Symbol in syntax defined by the system)
And | Display (Representation defined by the system)
And | subject (The subject of the report - usually, but not always, the patient Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | issued (DateTime this version was released The date and time on which the test report was issued by the performer to the requester.)
And | Performer (Participants in producing the report Reference to the person and/or organisation that authored the test report.)
And | actor (Practitioner or Organization participant Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | specimen (Specimens this report is based on Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | observations (Observations - simple, or complex nested groups Constraint (ref-1): SHALL have a contained resource if a local reference is provided Reference to the result(s) which are contained in the DiagnosticReport. This may contain references to standalone test results, test group headers (which then reference further results) or a mixture of both.)
And | Conclusion (Clinical Interpretation of test results Human readable clinical summary relating to the test report. It is provided by the performing HCP.
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
|  | Blood Test Type | Result
TSH

## 1.1.2
Use Case Ref | Patient (male, 58 years old) attends an oncology outpatient clinic at a hospital.Laura Browning, 25 years old, is sixteen weeks pregnant. Laura attends an appointment with her GP, Dr James O’Neil at Snow Hill Surgery. Laura tells Dr O’Neil that over the past couple of days she has felt the need to urinate more often than usual and doing so is painful. She is also feeling tired and generally unwell. Suspecting that Laura may have a Urinary Tract Infection (UTI), Dr O’Neil requests a Urinary M C and S (Microscopy, Culture and Sensitivity) test using the GP practice order comms system. The request is sent electronically to the microbiology laboratory based in the nearby hospital, Newtown General. On the same day as her appointment with Dr O’Neil, Laura is asked to attend an appointment with the practice nurse, Amanda Wells. A mid-stream urine sample is taken and sent to the laboratory. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed, and the results are authorised for release. The following test results are sent electronically from the LIMS to the GP practice system and the hospital’s EPR and maternity systems:
Test Case | 1.1.2
Scenario Outline | A LIMS system should be able to send a pathology result to the test data store (FHIR Server)
Given | A user is logged into LIMS system |  |  | KEY
And | A test request for a single standalone test (Prostate Specific Antigen) has been received by LIMS from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | Prostate specifric Antigen blood test has been performed and results are recorded in LIMS against mandatory fields only (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test report has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test report is SENT to the test data store (i.e FHIR Server)
Then | The diagnostic report message should be visible within the test data store (FHIR Server)
And | The captured diagnostic report message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | Identifier (Business identifier for report ; a business level identifier for the test report. Produced by the performing LIMS organisation.)
And | System (The namespace for the identifier value mUST contain the value 'https://tools.ietf.org/html/rfc4122')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (registered : partial : preliminary : final + Binding (required): The status of the diagnostic report as a whole. Diagnostic-Report-Status The status of the Test Report. MUST be set to 'partial' when the report is issued on an initial, interim or preliminary basis, for example because some of the requested tests have not yet completed. MUST be set to ‘final’ when the report is completed. MUST be set to ‘unknown’ when the status is unable to be determined)
And | code (Name/Code for this diagnostic report Binding (preferred): Codes that describe Diagnostic Reports. [Report Codes]( https://fhir.hl7.org.uk/STU3/ValueSet/CareConnect-ReportCodeSnCT-1 ) A SNOMED CT coded name of the name of the test report.)
And | .--System (Identity of the terminology system Fixed Value: http://snomed.info/sct)
And | .- - - code (Symbol in syntax defined by the system)
And | Display (Representation defined by the system)
And | subject (The subject of the report - usually, but not always, the patient Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | issued (DateTime this version was released The date and time on which the test report was issued by the performer to the requester.)
And | Performer (Participants in producing the report Reference to the person and/or organisation that authored the test report.)
And | actor (Practitioner or Organization participant Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | specimen (Specimens this report is based on Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | observations (Observations - simple, or complex nested groups Constraint (ref-1): SHALL have a contained resource if a local reference is provided Reference to the result(s) which are contained in the DiagnosticReport. This may contain references to standalone test results, test group headers (which then reference further results) or a mixture of both.)
And | Conclusion (Clinical Interpretation of test results Human readable clinical summary relating to the test report. It is provided by the performing HCP.
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
|  | Blood Test Type | Result

## 1.1.3
Use Case Ref | Test Report Laura Browning, 25 years old, is sixteen weeks pregnant. Laura attends an appointment with her GP, Dr James O’Neil at Snow Hill Surgery. Laura tells Dr O’Neil that over the past couple of days she has felt the need to urinate more often than usual and doing so is painful. She is also feeling tired and generally unwell. Suspecting that Laura may have a Urinary Tract Infection (UTI), Dr O’Neil requests a Urinary M C and S (Microscopy, Culture and Sensitivity) test using the GP practice order comms system. The request is sent electronically to the microbiology laboratory based in the nearby hospital, Newtown General. On the same day as her appointment with Dr O’Neil, Laura is asked to attend an appointment with the practice nurse, Amanda Wells. A mid-stream urine sample is taken and sent to the laboratory. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed, and the results are authorised for release. The following test results are sent electronically from the LIMS to the GP practice system and the hospital’s EPR and maternity systems:
Test Case | 1.1.3
Scenario Outline | A LIMS system should be able to send a pathology result to the test data store (FHIR Server) |  |  | KEY
Given | A User is logged into LIMS.
And | A test request for a single standalone test (Microscopy, Culture and sensitivity) has been received by LIMS from a GP system via (ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | Microscopy, Culture and sensitivity test has been performed and results are recorded in LIMS against mandatory fields only (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test report has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test report is SENT to the test data store (i.e FHIR Server)
Then | The diagnostic report message should be visible within the test data store (FHIR Server)
And | The captured diagnostic report message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | Identifier (Business identifier for report ; a business level identifier for the test report. Produced by the performing LIMS organisation.)
And | System (The namespace for the identifier value mUST contain the value 'https://tools.ietf.org/html/rfc4122')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (registered : partial : preliminary : final + Binding (required): The status of the diagnostic report as a whole. Diagnostic-Report-Status The status of the Test Report. MUST be set to 'partial' when the report is issued on an initial, interim or preliminary basis, for example because some of the requested tests have not yet completed. MUST be set to ‘final’ when the report is completed. MUST be set to ‘unknown’ when the status is unable to be determined)
And | code (Name/Code for this diagnostic report Binding (preferred): Codes that describe Diagnostic Reports. [Report Codes]( https://fhir.hl7.org.uk/STU3/ValueSet/CareConnect-ReportCodeSnCT-1 ) A SNOMED CT coded name of the name of the test report.)
And | .--System (Identity of the terminology system Fixed Value: http://snomed.info/sct)
And | .- - - code (Symbol in syntax defined by the system)
And | Display (Representation defined by the system)
And | subject (The subject of the report - usually, but not always, the patient Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | issued (DateTime this version was released The date and time on which the test report was issued by the performer to the requester.)
And | Performer (Participants in producing the report Reference to the person and/or organisation that authored the test report.)
And | actor (Practitioner or Organization participant Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | specimen (Specimens this report is based on Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | observations (Observations - simple, or complex nested groups Constraint (ref-1): SHALL have a contained resource if a local reference is provided Reference to the result(s) which are contained in the DiagnosticReport. This may contain references to standalone test results, test group headers (which then reference further results) or a mixture of both.)
And | Conclusion (Clinical Interpretation of test results Human readable clinical summary relating to the test report. It is provided by the performing HCP.
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
|  | Blood Test Type | Result

## 1.1.4
Use Case Ref | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system:
Test Case | 1.1.4 |  |  | Return to Index
Scenario Outline | A LIMS system should be able to send a pathology result to the test data store (FHIR Server) for a standalone single test (TSH Blood)
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (TSH blood) has been received by the LIMS system from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | The TSH blood test has been performed and result is recorded in LIMS with mandatory & optional fields completed (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test report has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test report is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The diagnostic report message should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The captured diagnostic report message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | Identifier (Business identifier for report ; a business level identifier for the test report. Produced by the performing LIMS organisation.)
And | System (The namespace for the identifier value mUST contain the value 'https://tools.ietf.org/html/rfc4122')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (registered : partial : preliminary : final + Binding (required): The status of the diagnostic report as a whole. Diagnostic-Report-Status The status of the Test Report. MUST be set to 'partial' when the report is issued on an initial, interim or preliminary basis, for example because some of the requested tests have not yet completed. MUST be set to ‘final’ when the report is completed. MUST be set to ‘unknown’ when the status is unable to be determined)
And | code (Name/Code for this diagnostic report Binding (preferred): Codes that describe Diagnostic Reports. [Report Codes]( https://fhir.hl7.org.uk/STU3/ValueSet/CareConnect-ReportCodeSnCT-1 ) A SNOMED CT coded name of the name of the test report.)
And | .--System (Identity of the terminology system Fixed Value: http://snomed.info/sct)
And | .- - - code (Symbol in syntax defined by the system)
And | Display (Representation defined by the system)
And | subject (The subject of the report - usually, but not always, the patient Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | issued (DateTime this version was released The date and time on which the test report was issued by the performer to the requester.)
And | Performer (Participants in producing the report Reference to the person and/or organisation that authored the test report.)
And | actor (Practitioner or Organization participant Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | specimen (Specimens this report is based on Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | observations (Observations - simple, or complex nested groups Constraint (ref-1): SHALL have a contained resource if a local reference is provided Reference to the result(s) which are contained in the DiagnosticReport. This may contain references to standalone test results, test group headers (which then reference further results) or a mixture of both.)
And | Conclusion (Clinical Interpretation of test results Human readable clinical summary relating to the test report. It is provided by the performing HCP.
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
When | Optional fields have also been completed
Then | The captured diagnostic report message should contain the following Optional FHIR elements such as Meta (Metadata about the FHIR resource)
And | .- id (Logical id of this artifact - Must contain a UUID to identify the instance of a diagnosticReport)
And | .- - coding (Coding Code defined by a terminology system Slicing: Discriminator: system, Ordering: false, Rules: Open)
And | .- - text (String Plain text representation of the concept Where a SNOMED code does not meet the report name requirements a text alternative may be used)
And | .-category (CodeableConcept Service category Binding (preferred): Codes for diagnostic service sections. ( http://hl7.org/fhir/stu3/valueset-diagnostic-service-sections.html )
|  | Blood Test Type | Result
TSH

## 1.1.5
Use Case Ref | Michael Davies, a 58 year old man, attends an appointment at an oncology outpatient clinic at Lingfield Royal Infirmary. The consultant, Dr Ibrahim Khan, gives Michael a blood test form for a prostate-specific antigen (PSA) test and asks him to attend the hospital’s phlebotomy clinic. On the same day, Michael attends the phlebotomy clinic and hands in the blood test form. A blood sample is taken by one of the clinic phlebotomists, Juan Garcia, and sent to the laboratory based in the hospital. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the hospital’s Electronic Patient Record (EPR) system and the GP system at Michael’s GP surgery:
Test Case | 1.1.5
Scenario Outline | A LIMS system should be able to send a pathology result to the test data store (FHIR Server)
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (Prostate Specific Antigen) has been received by the LIMS system from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | The TSH blood test has been performed and result is recorded in LIMS with mandatory & optional fields completed (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test report has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test report is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The diagnostic report message should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The captured diagnostic report message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | Identifier (Business identifier for report ; a business level identifier for the test report. Produced by the performing LIMS organisation.)
And | System (The namespace for the identifier value mUST contain the value 'https://tools.ietf.org/html/rfc4122')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (registered : partial : preliminary : final + Binding (required): The status of the diagnostic report as a whole. Diagnostic-Report-Status The status of the Test Report. MUST be set to 'partial' when the report is issued on an initial, interim or preliminary basis, for example because some of the requested tests have not yet completed. MUST be set to ‘final’ when the report is completed. MUST be set to ‘unknown’ when the status is unable to be determined)
And | code (Name/Code for this diagnostic report Binding (preferred): Codes that describe Diagnostic Reports. [Report Codes]( https://fhir.hl7.org.uk/STU3/ValueSet/CareConnect-ReportCodeSnCT-1 ) A SNOMED CT coded name of the name of the test report.)
And | .--System (Identity of the terminology system Fixed Value: http://snomed.info/sct)
And | .- - - code (Symbol in syntax defined by the system)
And | Display (Representation defined by the system)
And | subject (The subject of the report - usually, but not always, the patient Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | issued (DateTime this version was released The date and time on which the test report was issued by the performer to the requester.)
And | Performer (Participants in producing the report Reference to the person and/or organisation that authored the test report.)
And | actor (Practitioner or Organization participant Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | specimen (Specimens this report is based on Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | observations (Observations - simple, or complex nested groups Constraint (ref-1): SHALL have a contained resource if a local reference is provided Reference to the result(s) which are contained in the DiagnosticReport. This may contain references to standalone test results, test group headers (which then reference further results) or a mixture of both.)
And | Conclusion (Clinical Interpretation of test results Human readable clinical summary relating to the test report. It is provided by the performing HCP.
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
When | Optional fields have also been completed
Then | The captured diagnostic report message should contain the following Optional FHIR elements such as Meta (Metadata about the FHIR resource)
And | .- id (Logical id of this artifact - Must contain a UUID to identify the instance of a diagnosticReport)
And | .- - coding (Coding Code defined by a terminology system Slicing: Discriminator: system, Ordering: false, Rules: Open)
And | .- - text (String Plain text representation of the concept Where a SNOMED code does not meet the report name requirements a text alternative may be used)
And | .-category (CodeableConcept Service category Binding (preferred): Codes for diagnostic service sections. ( http://hl7.org/fhir/stu3/valueset-diagnostic-service-sections.html )
|  | Blood Test Type | Result
Prostate Specific Antigen

## 1.1.6
Use Case Ref | 0
Test Case | 1.1.6
Scenario Outline | A LIMS system should be able to send a pathology result to the test data store (FHIR Server)
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (Urinary M C and S (Microscopy, Culture and Sensitivity)) has been received by the LIMS system from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | The TSH blood test has been performed and result is recorded in LIMS with mandatory & optional fields completed (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test report has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test report is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The diagnostic report message should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The captured diagnostic report message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | Identifier (Business identifier for report ; a business level identifier for the test report. Produced by the performing LIMS organisation.)
And | System (The namespace for the identifier value mUST contain the value 'https://tools.ietf.org/html/rfc4122')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (registered : partial : preliminary : final + Binding (required): The status of the diagnostic report as a whole. Diagnostic-Report-Status The status of the Test Report. MUST be set to 'partial' when the report is issued on an initial, interim or preliminary basis, for example because some of the requested tests have not yet completed. MUST be set to ‘final’ when the report is completed. MUST be set to ‘unknown’ when the status is unable to be determined)
And | code (Name/Code for this diagnostic report Binding (preferred): Codes that describe Diagnostic Reports. [Report Codes]( https://fhir.hl7.org.uk/STU3/ValueSet/CareConnect-ReportCodeSnCT-1 ) A SNOMED CT coded name of the name of the test report.)
And | .--System (Identity of the terminology system Fixed Value: http://snomed.info/sct)
And | .- - - code (Symbol in syntax defined by the system)
And | Display (Representation defined by the system)
And | subject (The subject of the report - usually, but not always, the patient Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | issued (DateTime this version was released The date and time on which the test report was issued by the performer to the requester.)
And | Performer (Participants in producing the report Reference to the person and/or organisation that authored the test report.)
And | actor (Practitioner or Organization participant Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | specimen (Specimens this report is based on Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | observations (Observations - simple, or complex nested groups Constraint (ref-1): SHALL have a contained resource if a local reference is provided Reference to the result(s) which are contained in the DiagnosticReport. This may contain references to standalone test results, test group headers (which then reference further results) or a mixture of both.)
And | Conclusion (Clinical Interpretation of test results Human readable clinical summary relating to the test report. It is provided by the performing HCP.
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
When | Optional fields have also been completed
Then | The captured diagnostic report message should contain the following Optional FHIR elements such as Meta (Metadata about the FHIR resource)
And | .- id (Logical id of this artifact - Must contain a UUID to identify the instance of a diagnosticReport)
And | .- - coding (Coding Code defined by a terminology system Slicing: Discriminator: system, Ordering: false, Rules: Open)
And | .- - text (String Plain text representation of the concept Where a SNOMED code does not meet the report name requirements a text alternative may be used)
And | .-category (CodeableConcept Service category Binding (preferred): Codes for diagnostic service sections. ( http://hl7.org/fhir/stu3/valueset-diagnostic-service-sections.html )
|  | Blood Test Type | Result
Urinary M C and S (Microscopy, Culture and Sensitivity)

## 1.1.7
Use Case Ref | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system:
Test Case | 1.1.7 |  |  | Return to Index
Scenario Outline | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory fields only
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (TSH blood) has been received by the LIMS system from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | The TSH blood test has been performed and results are recorded in LIMS with mandatory fields only (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test request summary has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test request summary above is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The test request summary should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The test request summary message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | .--ID (Logical id of this artifact must contain a UUID to identify the instance of a procedureRequest)
And | .- meta ( Metadata about the resource The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-ProcedureRequest-1')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (draft : active : suspended : completed : entered-in-error : cancelled Binding (required): The status of a procedure or diagnostic order. RequestStatus MUST contain the value 'active'.)
And | Intent ( proposal : plan : order + Binding (required): The kind of procedure or diagnostic request RequestIntent MUST contain the value 'order'.)
And | Priority ( routine ¦ urgent ¦ asap ¦ stat Binding (required): Identifies the level of importance to be assigned to actioning the request http://hl7.org/fhir/stu3/valueset-request-priority.html The urgency of the test request
And | .--- System (Identity of the terminology system)
And | .- code (What is being requested/ordered Binding (example): Codes identifying names of simple observations. The tests requested by the requesting HCP.)
And | .- - - coding (snomedCT) (Code defined by a terminology system Binding (extensible): A code from the SNOMED Clinical Terminology UK coding system describing a type of observation CareConnect-ObservationType-1)
And | .--- code (Symbol in syntax defined by the system)
And | .---Display (Representation defined by the system)
And | .--text (Plain text representation of the concept)
And | subject (Individual the service is ordered for Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .--Reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'..)
And | .-authoredOn (Date request signed The date and time of the test request)
And | .--Requester (Who/what is requesting procedure or diagnosticReference to the resource for the Practitioner and/or Organization that requested the DiagnosticReport. At least one MUST be populated.)
And | .--agent (Individual making the request Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .--OnBehalfOf (Organization agent is acting for Constraint (ref-1): SHALL have a contained resource if a local reference is provided Constraint (ref-1): SHALL have a contained resource if a local reference is provided) & (The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-Organization-1' Requesting Organisation)
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
And | .--reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .-reasonCode Explanation/Justification for test Binding (example): Diagnosis or problem codes justifying the reason for requesting the procedure or diagnostic investigation. Procedure Reason Codes A structured and coded explanation from the requesting HCP containing an explanation on why the test has been requested and any contextual information they considered relevant. Use FHIR default value set
And | .--coding Code defined by a terminology system
And | ,--- reasonReference (Explanation/Justification for test Constraint (ref-1): SHALL have a contained resource if a local reference is provided. The clinical code of conditions the patient has that are supplied by the requesting HCP due to their relevance to the test request.) & This MUST be to the Organization resource profiled as CareConnect-Condition-1
And | .--reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .-note ( Comments Notes relating to the test request, as provided by the requester. May be used to provide further clinical context and/or the reason for requesting the tests)
And | .--reference ( Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .--text (The annotation - text content E.G. Patient always feels tired)
|  | Blood Test Type | Result
TSH

## 1.1.8
Use Case Ref | Michael Davies, a 58 year old man, attends an appointment at an oncology outpatient clinic at Lingfield Royal Infirmary. The consultant, Dr Ibrahim Khan, gives Michael a blood test form for a prostate-specific antigen (PSA) test and asks him to attend the hospital’s phlebotomy clinic. On the same day, Michael attends the phlebotomy clinic and hands in the blood test form. A blood sample is taken by one of the clinic phlebotomists, Juan Garcia, and sent to the laboratory based in the hospital. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS). The test is performed and the results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the hospital’s Electronic Patient Record (EPR) system and the GP system at Michael’s GP surgery:
Test Case | 1.1.8 |  | Return to Index
Scenario Outline | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Prostate Specific Antigen Test") to FHIR Server - Mandatory fields only
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (Prostate Specific Antigen) has been received by the LIMS system from a GP system (via ORDER Comms) |  | RED = Test Data requirements & pre-requisites
And | The Prostate Specific Antigen test has been performed and results are recorded in LIMS with mandatory fields only (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test request summary has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test request summary above is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The test request summary should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The test request summary message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | .--ID (Logical id of this artifact must contain a UUID to identify the instance of a procedureRequest)
And | .- meta ( Metadata about the resource The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-ProcedureRequest-1')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (draft : active : suspended : completed : entered-in-error : cancelled Binding (required): The status of a procedure or diagnostic order. RequestStatus MUST contain the value 'active'.)
And | Intent ( proposal : plan : order + Binding (required): The kind of procedure or diagnostic request RequestIntent MUST contain the value 'order'.)
And | Priority ( routine ¦ urgent ¦ asap ¦ stat Binding (required): Identifies the level of importance to be assigned to actioning the request http://hl7.org/fhir/stu3/valueset-request-priority.html The urgency of the test request
And | .--- System (Identity of the terminology system)
And | .- code (What is being requested/ordered Binding (example): Codes identifying names of simple observations. The tests requested by the requesting HCP.)
And | .- - - coding (snomedCT) (Code defined by a terminology system Binding (extensible): A code from the SNOMED Clinical Terminology UK coding system describing a type of observation CareConnect-ObservationType-1)
And | .--- code (Symbol in syntax defined by the system)
And | .---Display (Representation defined by the system)
And | .--text (Plain text representation of the concept)
And | subject (Individual the service is ordered for Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .--Reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'..)
And | .-authoredOn (Date request signed The date and time of the test request)
And | .--Requester (Who/what is requesting procedure or diagnosticReference to the resource for the Practitioner and/or Organization that requested the DiagnosticReport. At least one MUST be populated.)
And | .--agent (Individual making the request Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .--OnBehalfOf (Organization agent is acting for Constraint (ref-1): SHALL have a contained resource if a local reference is provided Constraint (ref-1): SHALL have a contained resource if a local reference is provided) & (The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-Organization-1' Requesting Organisation)
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
And | .--reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .-reasonCode Explanation/Justification for test Binding (example): Diagnosis or problem codes justifying the reason for requesting the procedure or diagnostic investigation. Procedure Reason Codes A structured and coded explanation from the requesting HCP containing an explanation on why the test has been requested and any contextual information they considered relevant. Use FHIR default value set
And | .--coding Code defined by a terminology system
And | ,--- reasonReference (Explanation/Justification for test Constraint (ref-1): SHALL have a contained resource if a local reference is provided. The clinical code of conditions the patient has that are supplied by the requesting HCP due to their relevance to the test request.) & This MUST be to the Organization resource profiled as CareConnect-Condition-1
And | .--reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .-note ( Comments Notes relating to the test request, as provided by the requester. May be used to provide further clinical context and/or the reason for requesting the tests)
And | .--reference ( Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .--text (The annotation - text content E.G. Patient always feels tired)
Blood Test Type
Prostate Specific Antigen Test

## 1.1.9
Use Case Ref | 0
Test Case | 1.1.9 |  |  | Return to Index
Scenario Outline | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("Microscopy, Culture and Sensitivity") to FHIR Server - Mandatory fields only
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (Microscopy, Culture and Sensitivity) has been received by the LIMS system from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | The Prostate Specific Antigen test has been performed and results are recorded in LIMS with mandatory fields only (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test request summary has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test request summary above is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The test request summary should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The test request summary message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | .--ID (Logical id of this artifact must contain a UUID to identify the instance of a procedureRequest)
And | .- meta ( Metadata about the resource The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-ProcedureRequest-1')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (draft : active : suspended : completed : entered-in-error : cancelled Binding (required): The status of a procedure or diagnostic order. RequestStatus MUST contain the value 'active'.)
And | Intent ( proposal : plan : order + Binding (required): The kind of procedure or diagnostic request RequestIntent MUST contain the value 'order'.)
And | Priority ( routine ¦ urgent ¦ asap ¦ stat Binding (required): Identifies the level of importance to be assigned to actioning the request http://hl7.org/fhir/stu3/valueset-request-priority.html The urgency of the test request
And | .--- System (Identity of the terminology system)
And | .- code (What is being requested/ordered Binding (example): Codes identifying names of simple observations. The tests requested by the requesting HCP.)
And | .- - - coding (snomedCT) (Code defined by a terminology system Binding (extensible): A code from the SNOMED Clinical Terminology UK coding system describing a type of observation CareConnect-ObservationType-1)
And | .--- code (Symbol in syntax defined by the system)
And | .---Display (Representation defined by the system)
And | .--text (Plain text representation of the concept)
And | subject (Individual the service is ordered for Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .--Reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'..)
And | .-authoredOn (Date request signed The date and time of the test request)
And | .--Requester (Who/what is requesting procedure or diagnosticReference to the resource for the Practitioner and/or Organization that requested the DiagnosticReport. At least one MUST be populated.)
And | .--agent (Individual making the request Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .--OnBehalfOf (Organization agent is acting for Constraint (ref-1): SHALL have a contained resource if a local reference is provided Constraint (ref-1): SHALL have a contained resource if a local reference is provided) & (The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-Organization-1' Requesting Organisation)
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
And | .--reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .-reasonCode Explanation/Justification for test Binding (example): Diagnosis or problem codes justifying the reason for requesting the procedure or diagnostic investigation. Procedure Reason Codes A structured and coded explanation from the requesting HCP containing an explanation on why the test has been requested and any contextual information they considered relevant. Use FHIR default value set
And | .--coding Code defined by a terminology system
And | ,--- reasonReference (Explanation/Justification for test Constraint (ref-1): SHALL have a contained resource if a local reference is provided. The clinical code of conditions the patient has that are supplied by the requesting HCP due to their relevance to the test request.) & This MUST be to the Organization resource profiled as CareConnect-Condition-1
And | .--reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .-note ( Comments Notes relating to the test request, as provided by the requester. May be used to provide further clinical context and/or the reason for requesting the tests)
And | .--reference ( Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .--text (The annotation - text content E.G. Patient always feels tired)
|  | Blood Test Type | Result
Microscopy, Culture and Sensitivity

## 1.1.10
Use Case Ref | Patient (female, 60 years old) visits their GP for hypothyroidism monitoring. Ann Brown, a 60 year old woman, was diagnosed with hypothyroidism (underactive thyroid) two years ago and prescribed with levothyroxine. Ann attends an appointment at her GP practice, Green Lane Medical Centre, for her annual monitoring check. Her GP, Dr Aleem Ahmed, requests a TSH (Thyroid Stimulating Hormone) blood test. The request is sent electronically using an order comms system (accessed via the GP practice system) to the pathology laboratory based in the local hospital, New City Hospital.Ann attends an appointment with the GP practice phlebotomist, Rebecca Evans, who takes a blood sample. The sample is sent to the laboratory by the medical courier service used by the practice. The sample is received by the laboratory, checked and matched with the test request. The details are recorded on the Laboratory Information Management System (LIMS).The test is performed. As the TSH result is low, two further tests (Free Thyroxine - FT4 and Free Triiodothyronine – T3) are automatically performed as reflex tests on the same sample that was used for the original test. The results are authorised for release. The following test results (and reference ranges) are sent electronically from the LIMS to the GP practice system:
Test Case | 1.1.10 |  |  | Return to Index
Scenario Outline | LIMS sending a 'Pathology Test Request Summary' FHIR message for a single standalone test ("TSH blood Test") to FHIR Server - Mandatory fields + optional fields
Given | A User is logged into the LIMs System
And | A test request for a single standalone test (TSH blood) has been received by the LIMS system from a GP system (via ORDER Comms) |  |  | RED = Test Data requirements & pre-requisites
And | The TSH blood test has been performed and results are recorded in LIMS with mandatory fields only (please refer to: https://developer.nhs.uk/apis/itk3nationalpathology-1-0-0/explore_test_result_observation.html for mandatory fields)
And | A test request summary has been generated for the standalone single test results above in LIMS
And | A LIMS system is READY, configured & pointing to the test data store (i.e FHIR server)
When | The test request summary above is SENT to the test data store (i.e NHSx Test FHIR Server)
Then | The test request summary should be successfully captured and visible within the test data store (NHSx FHIR Server)
And | The test request summary message should contain the following Mandatory FHIR elements such as Meta (Metadata about the FHIR resource)
And | .--ID (Logical id of this artifact must contain a UUID to identify the instance of a procedureRequest)
And | .- meta ( Metadata about the resource The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-ProcedureRequest-1')
And | Value (The value that is unique. MUST contain a UUID)
And | based-on (What was requested .Constraint (ref-1): SHALL have a contained resource if a local reference is providedReference to the Test Request Summary)
And | Status (draft : active : suspended : completed : entered-in-error : cancelled Binding (required): The status of a procedure or diagnostic order. RequestStatus MUST contain the value 'active'.)
And | Intent ( proposal : plan : order + Binding (required): The kind of procedure or diagnostic request RequestIntent MUST contain the value 'order'.)
And | Priority ( routine ¦ urgent ¦ asap ¦ stat Binding (required): Identifies the level of importance to be assigned to actioning the request http://hl7.org/fhir/stu3/valueset-request-priority.html The urgency of the test request
And | .--- System (Identity of the terminology system)
And | .- code (What is being requested/ordered Binding (example): Codes identifying names of simple observations. The tests requested by the requesting HCP.)
And | .- - - coding (snomedCT) (Code defined by a terminology system Binding (extensible): A code from the SNOMED Clinical Terminology UK coding system describing a type of observation CareConnect-ObservationType-1)
And | .--- code (Symbol in syntax defined by the system)
And | .---Display (Representation defined by the system)
And | .--text (Plain text representation of the concept)
And | subject (Individual the service is ordered for Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .--Reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'..)
And | .-authoredOn (Date request signed The date and time of the test request)
And | .--Requester (Who/what is requesting procedure or diagnosticReference to the resource for the Practitioner and/or Organization that requested the DiagnosticReport. At least one MUST be populated.)
And | .--agent (Individual making the request Constraint (ref-1): SHALL have a contained resource if a local reference is provided)
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .--OnBehalfOf (Organization agent is acting for Constraint (ref-1): SHALL have a contained resource if a local reference is provided Constraint (ref-1): SHALL have a contained resource if a local reference is provided) & (The value attribute of the profile element MUST contain the value 'https://fhir.nhs.uk/STU3/StructureDefinition/CareConnect-Organization-1' Requesting Organisation)
And | Coded Diagnosis (Codes for the conclusion Binding (preferred): A SNOMED Coded finding for the test report. CareConnect-Finding-Code A coded finding of the test report. Produced by the organisation that performed the tests.
And | .--reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .---reference Literal reference, Relative, internal or absolute URL a reference to the location resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.
And | .-reasonCode Explanation/Justification for test Binding (example): Diagnosis or problem codes justifying the reason for requesting the procedure or diagnostic investigation. Procedure Reason Codes A structured and coded explanation from the requesting HCP containing an explanation on why the test has been requested and any contextual information they considered relevant. Use FHIR default value set
And | .--coding Code defined by a terminology system
And | ,--- reasonReference (Explanation/Justification for test Constraint (ref-1): SHALL have a contained resource if a local reference is provided. The clinical code of conditions the patient has that are supplied by the requesting HCP due to their relevance to the test request.) & This MUST be to the Organization resource profiled as CareConnect-Condition-1
And | .--reference (Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .-note ( Comments Notes relating to the test request, as provided by the requester. May be used to provide further clinical context and/or the reason for requesting the tests)
And | .--reference ( Literal reference, Relative, internal or absolute URL a reference to the Patient resource instance in the message in the format of a UUID prefixed with 'urn:uuid:'.)
And | .--text (The annotation - text content E.G. Patient always feels tired)
|  | Blood Test Type | Result
TSH